General notes for POSt-INSTALLED Anchors

- EXCEPT WHERE INDICATED ON THE DRAWINGS, POST-INSTALLED ANCHORS SHALL CONSIST OF THE FOLLOWING ANCHOR TYPES AS PROVIDED BY HILTI (CANADA) CORPORATION. CONTACT HILTI AT (800) 363-4458 FOR PRODUCT RELATED QUESTIONS.

  - ANCHORAGE TO CONCRETE

    - ADHESIVE ANCHORS FOR CRACKED AND UNCRACKED CONCRETE USE:

      - ADHESIVES FOR USE:

        - HILTI HIT-HY 200 SAFE SET SYSTEM WITH HILTI HIT-Z ROD PER ICC ESR-3187

        - HILTI HIT-HY 200 SAFE SET SYSTEM WITH HILTI HOLLOW DRILL BIT AND VACUUM WITH HAS THREADED ROD PER ICC ESR-3187

        - HILTI HIT-RE 500v3 SAFE SET SYSTEM WITH HILTI HOLLOW DRILL BIT AND VACUUM WITH HAS THREADED ROD PER ICC ESR-3814

        - HILTI HIT-RE 500v3 SAFE SET SYSTEM WITH HILTI ROUGHENING TOOL (HIT RT) WITH HAS THREADED ROD PER ICC ESR-3814 FOR DIAMOND CORED HOLES

      - STEEL ELEMENTS FOR USE WITH ADHESIVE:

        - HILTI HAS-V-36 GRADE 36 CARBON STEEL ROD

        - HILTI HAS-E-55 GRADE 55 CARBON STEEL ROD

        - HILTI HAS-B-105 GRADE 105 CARBON STEEL ROD

        - HILTI HAS-R-304 STAINLESS STEEL ROD

        - HILTI HAS-R-316 STAINLESS STEEL ROD

        - HILTI HIT-Z ROD (WITH HY 200 ONLY)

    - MEDIUM DUTY MECHANICAL ANCHORS FOR CRACKED AND UNCRACKED CONCRETE USE:

      - HILTI KWIK HUS EZ AND KWIK HUS EZ-I SCREW ANCHOR SAFE SET SYSTEM WITH HOLLOW DRILL BIT AND VACUUM PER ICC ESR-3027

      - HILTI KWIK BOLT-TZ EXPANSION ANCHOR SAFE SET SYSTEM WITH HOLLOW DRILL BIT AND VACUUM AND SI-AT-A22 TOOL WITH ADAPTIVE TORQUE FOR APPLICABLE SIZES PER ICC ESR-1917

      - HILTI KWIK BOLT 3 EXPANSION ANCHOR SAFE SET SYSTEM WITH HOLLOW DRILL BIT AND VACUUM AND SI-AT-A22 TOOL WITH ADAPTIVE TORQUE FOR APPLICABLE SIZES (UNCRACKED CONCRETE ONLY) PER ICC ESR-2302

    - HEAVY DUTY MECHANICAL ANCHORS FOR CRACKED AND UNCRACKED CONCRETE USE:

      - HILTI HDA UNDERCUT ANCHORS PER ICC ESR 1546

      - HILTI HSL-3 EXPANSION ANCHORS PER ICC ESR 1545

    - COLD-WEATHER ADHESIVE ANCHORS FOR CRACKED AND UNCRACKED CONCRETE USE:

      - HILTI HIT-ICE SAFE SET SYSTEM WITH HILTI HOLLOW DRILL BIT AND VACUUM

  - REBAR DOWELING INTO CONCRETE

    - ADHESIVE ANCHORS FOR CRACKED AND UNCRACKED CONCRETE USE:

      - HILTI HIT-HY 200 SAFE SET SYSTEM WITH HILTI HOLLOW DRILL BIT AND VACUUM WITH CONTINUOUSLY DEFORMED REBAR PER ICC ESR-3187

      - HILTI HIT-HY 500v3 SAFE SET SYSTEM WITH HILTI HOLLOW DRILL BIT AND VACUUM WITH CONTINUOUSLY DEFORMED REBAR PER ICC ESR-3814

      - HILTI HIT-RE 500v3 SAFE SET SYSTEM WITH HILTI ROUGHENING TOOL (HIT RT) WITH CONTINUOUSLY DEFORMED REBAR PER ICC ESR-3814 IN DIAMOND CORED HOLES

  - ANCHORAGE TO SOLID GROUTED MASONRY

    - ADHESIVE ANCHORS USE:

      - HILTI HIT-HY 270 SAFE SET SYSTEM WITH HILTI HOLLOW DRILL BIT AND VACUUM PER ICC ESR-4143

      - HILTI HIT-ICE SAFE SET SYSTEM WITH HILTI HOLLOW DRILL BIT AND VACUUM

      - STEEL ANCHOR ELEMENT SHALL BE HILTI HAS CONTINUOUSLY THREADED ROD OR CONTINUOUSLY DEFORMED STEEL REBAR

    - MECHANICAL ANCHORS USE:

      - HILTI KWIK BOLT-3 EXPANSION ANCHOR PER ICC ESR 1385

  - ANCHORAGE TO HOLLOW / MULTI-WYTHE MASONRY

    - ADHESIVE ANCHORS USE:

      - HILTI HIT-HY 270 SAFE SET SYSTEM WITH HILTI HOLLOW DRILL BIT AND VACUUM PER ICC ESR-4143.

      - STEEL ANCHOR ELEMENT SHALL BE HILTI HAS CONTINUOUSLY THREADED ROD OR CONTINUOUSLY DEFORMED STEEL REBAR

      - THE APPROPRIATE SIZE SCREEN TUBE SHALL BE USED PER ADHESIVE MANUFACTURER’S PRINTED INSTALLATION INSTRUCTIONS

- ANCHOR CAPACITY USED IN DESIGN SHALL BE BASED ON THE TECHNICAL DATA PUBLISHED BY HILTI OR OTHER SUCH METHOD AS APPROVED BY THE STRUCTURAL ENGINEER OF RECORD. SUBSTITUTION REQUESTS FOR ALTERNATE PRODUCTS OR DRILLING METHODS MUST BE APPROVED IN WRITING BY THE STRUCTURAL ENGINEER OF RECORD PRIOR TO USE. CONTRACTOR SHALL PROVIDE CALCULATIONS DEMONSTRATING THAT THE SUBSTITUTED PRODUCT MEETS OR EXCEEDS THE PERFORMANCE CAPACITIES OF THE SPECIFIED PRODUCT. SUBSTITUTIONS WILL BE EVALUATED FOR COMPLIANCE WITH THE RELEVANT BUILDING CODE FOR SEISMIC USES, LOAD RESISTANCE, INSTALLATION CATEGORY, AND/OR AVAILABILITY OF COMPREHENSIVE INSTALLATION INSTRUCTIONS. ADHESIVE ANCHOR EVALUATION WILL ALSO CONSIDER CREEP, IN-SERVICE TEMPERATURE, AND INSTALLATION TEMPERATURE.

- USE OF DIAMOND CORE BIT WITH ROUGHENING TOOL FOR ANCHOR HOLES REQUIRES APPROVAL FROM ENGINEER OF RECORD PRIOR TO DRILLING. UNLESS OTHERWISE SHOWN IN THE DRAWINGS, ALL HOLES SHALL BE DRILLED PERPENDICULAR TO THE CONCRETE SURFACE.

- INSTALL ANCHORS PER THE MANUFACTURER’S PRINTED INSTALLATION INSTRUCTIONS, AS INCLUDED IN THE ANCHOR PACKAGING.

- OVERHEAD ADHESIVE ANCHORS MUST BE INSTALLED USING THE HILTI PROFI PISTON PLUG SYSTEM.

- THE CONTRACTOR SHALL ARRANGE AN ANCHOR MANUFACTURER’S REPRESENTATIVE TO PROVIDE ONSITE INSTALLATION TRAINING FOR ALL ANCHOR PRODUCTS SPECIFIED. THE STRUCTURAL ENGINEER OF RECORD MUST RECEIVE DOCUMENTED CONFIRMATION THAT ALL PERSONNEL WHO INSTALL ANCHORS ARE TRAINED PRIOR TO THE COMMENCEMENT OF ANCHOR INSTALLATION.

- ANCHOR CAPACITY IS DEPENDENT UPON SPACING BETWEEN ADJACENT ANCHORS AND PROXIMITY OF ANCHORS TO EDGE OF CONCRETE. INSTALL ANCHORS IN ACCORDANCE WITH SPACING AND EDGE CLEARANCES INDICATED ON THE DRAWINGS.

- EXISTING REINFORCING BARS IN THE CONCRETE STRUCTURE MAY CONFLICT WITH SPECIFIC ANCHOR LOCATIONS. UNLESS NOTED ON THE DRAWINGS THAT THE BARS CAN BE CUT, THE CONTRACTOR SHALL REVIEW THE EXISTING STRUCTURAL DRAWINGS AND SHALL UNDERTAKE TO LOCATE THE POSITION OF THE REINFORCING BARS AT THE LOCATIONS OF THE CONCRETE ANCHORS BY HILTI PS 1000 OR OTHER GPR, X-RAY, CHIPPING OR OTHER APPROVED MEANS.