SECTION 05 31 23

STEEL ROOF DECKING

Note to specifier: This is a sample specification and should be revised to meet project requirements.

PART 1 – GENERAL

1.01	GENERAL REQUIREMENTS

- The General Conditions of the Contract and all Sections of Division 1, General Requirements, form an integral part of the requirements of this Section.

- Coordinate with the requirements of other units of work specified in other Sections.

1.02	DESIGN REQUIREMENTS

- Design steel deck using limit states design in accordance with CSA-S136 and CSSBI 10M.

- Steel deck and connections to steel framing to carry dead, live and other loads including lateral loads, diaphragm action, composite deck action, and uplift as indicated. The design shall rely on SDI or CSSBI design procedures.

- Deflection under specified live load not to exceed 1/300 of span for roof, 1/360 of span for floor and 1/180 of span for wall.

- Where vibration effects are to be controlled as indicated, dynamic characteristics of decking system to be designed to be in accordance with CAN/CSA-S16.1, Appendix 'G'.

1.03	SHOP DRAWINGS

- Submit shop drawing erection and shoring drawings.

- Indicate deck plan, profile and gauge, dimensions, base steel thickness, metallic coating designation, connections to supports and spacing, projections, openings, reinforcement details and accessories.

- Indicate details of temporary shoring of steel deck, such as location, time and duration of placement and removal of shoring for concrete fill decks.

1.04	FASTENING

- Fasten roof deck to the top flange or chord sections of steel frame with the Hilti HSN 24 fastener where top flange or chord thickness are between 1/8” – 3/8” (3-10 mm).  For top flanges equal to or thicker than 1/4’’ (6 mm), use the Hilti X-ENP-19 L15 fastener.

- The installer that will be using the tools to attach the deck fasteners shall be trained & certified by fastener manufacturer’s representative on the general use of powder actuated technology and fastening guidelines for the attachment of steel deck.

- Locate fasteners so that clearances to edge of steel, end of decking panels, and the side of deck troughs meet fastener and deck manufacturer’s installation guidelines.

- Ensure nail head standoffs measurements meet fastener manufacturer’s recommendations.

PART 2 – PRODUCTS

2.01	MATERIALS

- Zinc-iron Alloy (ZF) coated steel sheet: to ASTMA653/A653M structural quality Grade 230, with ZF75 coating, for interior surfaces not exposed to weather, unpainted finish.

(Note to specifier: Please choose the appropriate specification for your project requirements).

- Acceptable deck:

a. ASC

b. Canam

c. CSI

d. Epic

e. New Millenium

f. Verco

g. Vicwest

h. Vulcraft-Nucor

- Fasteners shall have knurled shank; minimum 1/2’’ (12 mm) diameter steel washers; electroplated zinc coating conforming to ASTM B633, Sc.1,  Type III; meet CSSBI and SDI design requirements; Factory Mutual approval, such as Hilti HSN 24 or X-ENP-19 L15 fasteners.

- For use on open web steel joists or cold rolled sections with steel top flange between 1/8” – 3/8” (3-10 mm) thick, use Hilti X-HSN 24 fasteners. For structural steel top flanges equal to or thicker than 1/4” (6mm), use Hilti X-ENP-19 L15 fasteners. Verify performance and installability with the fastener manufacturer representative by performing test fastenings prior to installation of decking.

- Sidelap connectors to connect steel deck units at overlaps:  Hilti SLC 01 for gauges 18-26 or the Hilti SLC 02 for gauges 16-22.

(Note to specifier: For interlocking deck choose button punches or proprietary deck fastening method to connect steel deck units at overlaps).

- Acoustic insulation: fibrous glass 17.5 kg/m3 density profiled to suit deck flutes.

- Closures: in accordance with deck manufacturer's recommendations.

2.02	DECK TYPES

- Metal deck shall be as manufactured by those listed in section 2.01b or approved equal.

- Steel roof decks:  minimum base steel thickness, depth and profile as indicated on drawings, non-cellular, perforated on vertical face of flutes, overlapping side laps.

- Acoustic steel roof decks:  minimum base steel thickness, depth and profile as indicated on drawings, non-cellular, perforated on vertical face of flutes, overlapping side laps.

- Composite steel floor decks:  minimum base steel thickness, depth and profile as indicated on drawings, non-cellular, perforated on vertical face of flutes, overlapping side laps.

PART 3 – EXECUTION

3.01	GENERAL

- Structural steel work: in accordance with CAN/CSA-S136 and CSSBI 10M.

3.02	ERECTION

- Erect steel deck as indicated and in accordance with CSA S136, CSSBI 10M, the SDI Manual of Construction MOC2, and in accordance with approved erection drawings.

- Steel deck shall be placed on to supporting steel, and properly positioned before permanently fastening the deck.  Mark the location of the open web joists and beams onto the deck prior to attaching the deck.

- Unless otherwise noted on the drawings, fasteners shall be attached to the supporting steel at 300 mm on centre, and 150 mm on centre at the ends of the deck.

(Note to specifier: Please choose the appropriate nail spacing for your project requirements)

- Attach the roof deck perimeter that is parallel to the deck flutes at the identical spacing as the sidelap connectors.

(Note to specifier: Please choose the appropriate nail spacing for your project requirements)

- All sidelaps shall be attached with a HILTI SLC 01 or HILTI SLC 02 sidelap connectors at 300 mm on centre.

(Note to specifier: Please choose the appropriate screw spacing for your project requirements.  For interlocking deck choose the appropriate button punch or proprietary deck fastening method spacing for your project requirements)

- Lap ends: to 100 mm minimum.

(Note to specifier: Please choose the appropriate lap for your project requirements)

- Install deck to be continuous over minimum of 3 spans.

3.03	CLOSURES

- Install closures in accordance with approved details.

3.04	OPENINGS AND AREAS OF CONCENTRATED LOADS

- No reinforcement required for openings cut in deck which are smaller than 150 mm square.

- Frame deck openings with any one dimension between 150 to 300 mm as recommended by deck manufacturer, except as otherwise indicated.

- For deck openings with any one dimension greater than 300 mm and for areas of concentrated load, reinforce in accordance with structural framing details, except as otherwise indicated.

END OF SECTION